Department of Production Engineering

B.I.T. Sindri, Dhanbad

| Sl. No. | Name of Machine/ Equipment with specification | No. |
| --- | --- | --- |
| 1. | Stir Casting Furnace. (Size 4” Dia X 8” height, Rotary Centrifugal type, Bottom Pouring tube, Variable Speed from 100 – 500 RPM ) | Per unit |
| 2. | Metallurgical Microscope (Metallurgical Image Analyzer with 50X-2500X Magnification, Inverter trinocular Infinity Metallurgical Microscope with 10.0Mp Usb Digital Camera) | Per unit |
| 3. | Portable Electrolytic polishing and Etching machine | Per unit |
| 4 | Micro Hardness Tester (Digital type, Minimum measurement unit- 0.25μm, Hardness Range- 1-4000 HV, Total magnification- 100X (observed),400X (measurement)). | Per unit |
| 5 | Inverter MIG welding set up Without Gas Cylinder Unit. (Supply 220 Volt, phase 1, 50/60 Hz, rated 8 KVA, output volt 60-30 Volt, Output amperage 50-250A). | Per unit |
| 6 | Digital profile Projector with Digital Measuring Systems Advanced 3 axis DRO with geometric functions Rotary screen diameter 300 mm; Vertical axis – bench top projector. Screen Diameter 300 mm. Precision Telocentric Magnification Lenses. Magnification 10x Std Work-stage: Size of the Top Plate: 350 x 170 mm. Measuring Traverse: 200 x 100 mm Max Diameter: 150 mm. Load Capacity: 20 KG, Projection Accuracy : Contour +. 0.10% Surface + 0.15%, Profile & Surface Illumination: 24V, 150W Tungsten Halogen lamps Measuring Traverse: 200 x 100 mm Max Diameter: 150 mm Load Capacity: 20 KG, Projection Accuracy: Contour + 0.10% Surface + 0.15% Profile & Surface Illumination: 24V, 150W Tungsten Halogen lamps. Ergonomically Designed table and Cabinet for mounting the instrument. | Per unit |
| 7 | Universal Bevel Protractor (Graduation: 5min.(0º- 90º- 0º) Accuracy Vernier: ±5') | Per unit |
| 8 | Ratchet Thimble Micrometer 0-25mm, 0,001mm. (Range:0 - 25 mm, Graduation: 0,001 mm, Accuracy: ±2 μm) | Per unit |
| 9 | Gear Tooth Vernier Caliper (Measuring Range:1-100 mm, Resolution (mm) : 0.02 mm) | Per unit |